# SECTION 13 21 48

# MODULAR MUSIC PRACTICE ROOMS

# PART 1 – GENERAL

# RELATED DOCUMENTS:

# Drawings and general provisions of the Contract, including general and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

# SUMMARY:

- Modular Music Practice Rooms (MMPR) field assembled from 4” thick pre-manufactured components.  Enclosure is designed to meet performance criteria specified herein as a complete assembly. The following components/systems are included and specified herein:

  - Interior Acoustical Modular Music Practice Rooms

  - Sound Control Door and Frame Assemblies

  - Sound Control Window Systems

  - Floating Floor (if applicable)

  - UL Certified Electrical System

  - Acoustic HVAC Silencers

- Provide labor, material, tools, equipment, scaffolding, transportation, inspection, certificates, and temporary protection necessary to:

- Provide Modular Music Practice Rooms as shown on Drawings and as specified in these Specifications.  Provide accessories and appurtenances required for complete working installation.

- Connectors and flashing shall make holes in walls acoustically tight in accordance with Enclosure wall manufacturer’s instructions.

- Structural steel support frame, if required, to be included by Modular Music Practice Room manufacturer. Refer to drawings.

# 1.3	SUBMITTALS:

- Product Data: Manufacturer's product specifications.

- Shop Drawings: Complete drawings showing components including mechanical and electrical requirements.

- Certificate of Compliance: Certify completed assembly meets requirements specified herein.

- Submit in accordance with Section 01300.

- Stamped (P.E.) calculations for all structural and panel components certifying compliance with roof and /or wind load requirements and California Seismic Zone Requirements (if applicable).

1.4   QUALITY ASSURANCE:

- Regulatory Requirements:

- Acoustical performance: Wall and Ceiling panels shall be minimum NRC (Noise Reduction Coefficient) rating of 0.75 and minimum STC (Sound Transmission Class) of 55.

- Structural requirements: design MMPR to meet California Seismic Zone requirements (if applicable).

- Reference Standards:

- ASTM E90-99 or ASTM E90-09 and E413-87 Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions.

- ASTM C423-90A and ASTM E795-00, Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

- ASTM E336 Sound Transmission Loss in Buildings.

# All testing shall be performed within the last five (5) years to assure product integrity.

# 1.5	DELIVERY, STORAGE AND HANDLING:

- Deliver products in sufficient quantity and time to maintain approved construction schedule.

- Materials shall be in original containers with seals unbroken and labels intact until time of use.  Wrapped or bundled materials shall bear name of manufacturer and product.  Damaged or otherwise unsuitable material, when so ascertained, shall be removed from Project site.

- Store products in secure, dry location, out of way of construction operations.  Store products off ground and protect from elements.  Wetting of elements not permitted.

- Prevent damage to materials, to other stored products, to existing construction, and project work.

# 1.6	WARRANTY:

- Provide manufacturer’s warranty covering failures of materials and workmanship for a period of five (5) years from installation.  Acts of nature, misuse, or abuse are not covered.

# Finish warranty: Furnish panel manufacturer's written warranty covering failure of the factory-applied finish on metal panels within the warranty period.  This warranty shall be in addition to and not a limitation of other rights the Owner may have against the Contractor under the Contract Documents.

Warranty Period on Finish: Ten (10) years.

# 1.7	ACOUSTICAL PERFORMANCE GUARANTEE:

A:  Airborne Noise Reduction shall meet: NIC 54 from exterior to interior of MMPR per ASTM E-596 and NIC 69 from interior of one module to interior of adjacent MMPR with 4” airspace between modules per ASTM E336. Bid must include In-Situ testing showing these values.

# B: Provide written guarantee that the assembled MMPR will reduce noise levels to NIC 54 from interior to exterior of MMPR per ASTM E-336 and NIC 69 from interior of one module to interior of adjacent MMPR. If the MMPR does not achieve the minimum noise reduction performance the MMPR supplier is responsible for taking corrective action and the supplier’s expense to bring the assembled MMPR into compliance with Acoustic Performance Guarantee.

# 1.8	EXPERIENCE:

# Modular Music Practice Room supplier must provide a list of ten (10) similar successful installations of Modular Music Practice Rooms supplied within the last five years.

# Materials requiring testing shall be manufactured in the same location, with the same equipment for at least five (5) years and have 3rd party, independent testing results no more than five (5) years old.

# PART 2 – PRODUCTS

# 2.1 	MATERIALS:

Modular Music Practice Rooms basis of design shown on the plans and specified herein and shall be constructed of type “QuietMPR” Modular Music Practice Rooms manufactured by Noise Barriers, LLC., Libertyville, IL.

Manufacturer:

Noise Barriers, LLC					Phone:  (847) 843-0500

2001 Kelly Court

Libertyville, IL 60048					www.noisebarriers.com

Contact:

John Finnegan						Phone:	 (315) 682-3821

Email:  info@noisebarriers.com

2.2	PANEL CONSTRUCTION:

- Except as shown on drawings or at locations described below, use 4” thick acoustical panels. Exterior surfaces are solid sheet minimum14-ga. A-60 Galvanealled steel. Interior surfaces are 16-ga. A-60 Galvanealled (solid) or 16 ga. perforated galvanized steel.

- Sound-retarding and absorbing fill material shall be noncombustible, inert mildew-resistant and vermin proof.

- No internal lateral panel reinforcement shall be allowed.

- Spot welds shall be no more than 2 in. apart.

- Prior to attaching face sheet, panel shall be dampened and filled with sound-retarding and absorbing elements.  Fill shall be slightly larger and thicker than inside dimensions of panel.  No voids will be tolerated.

- Weld and rivet face sheet to panel assembly to acoustically compress and hold fill materials in place.  Panel assembly shall hold fill materials in place under severe conditions of vibration encountered in shipping, installation, and in operation of completed structure.

- Perforated metal surfaces to receive field finish paint to have plastic mesh spacer between acoustic fill and perforated face.

- Combustion Ratings

The panel modules shall meet the requirements established by ASTM E-84.  The panels shall not exceed the following limits:

a.	Flame spread Classification:	20

b.	Smoke Developed:		50

  - DOOR PANELS:

- Door/frame assembly shall be minimum STC 52, 2.5 in. thick door fabricated from minimum 12 gauge and 16 gauge steel and filled with sound absorbing and damping elements and hardware listed below. Refer to Door Schedule for sizes.

- Frame shall be fabricated from 14 gauge steel.

- Assembly and adjustment of single and double leaf doors, frames, acoustic seals and hinges shall take place at the factory and the entire unit shall ship to the jobsite ready for installation and operation.  All doors shall be tested for proper operation in the factory prior to shipment. All hardware should be supplied by and factory installed by the sound door manufacturer.

- Acoustic Seals:  Sides and head of door and frame shall receive two (2) sets of self-aligning magnetic-compression seals.  Door to be held in place by magnetic force of perimeter seals.  Acoustic labyrinth shall be created when door is in closed position.  Bottom of door leaf shall contain continuous gravity activated seal, which shall compress against floor as door is closed.  Raised sills and threshold drop seals will not be permitted.

- All windows in doors must be factory glazed using one layer of 1/2” thick and one layer of 3/8” thick tempered safety glass. Refer to door schedule.

- Hardware:

    - Hinges – minimum of two (2) Cam-Lift hinges finished in US 26-D satin chrome shall be supplied with each door leaf.

    - Latches shall not be required to hold the door closed or to achieve acoustic seal.

    - Pull handles, inside and outside, shall be supplied and installed at the factory.

    - Single leaf doors shall include an LCN 4041 door closer.

    - Double leaf door sets shall include a Dorma Modified Model TS93GSRCONTSN4689 Coordinator.

    - Refer to the door schedule for additional hardware.

    - Mortised lockset, factory installed, if applicable (refer to drawings).

WINDOW PANELS:

- Windows shall be furnished in panels per the room elevations.

- All windows must be factory glazed using one layer of ½” thick and one layer of 3/8” thick tempered safety glass separated by an air space and sealed in acoustically tight foam rubber seals. Refer to room elevations for location and size of windows.

- Air space shall contain a desiccant material to prevent fogging.

2.5      SILENCED VENTILATION SYSTEM:

A. Direct-Coupled Ventilation System: when specified as such (refer to drawings) the MMPR shall be provided with supply and exhaust silencers on the roof of the MMPR that shall be supplied with a 12” diameter x 1” high collar for connection to the host building HVAC system with flexible circular duct supplied by others. Flexible duct must be used to decouple the MMPR from the host building HVAC system.

B. Self-Contained Ventilation System: when specified as such (refer to drawings) the MMPR shall be provided with fan forced air supply and exhaust silencers on the roof of the MMPR. The ventilation system shall be designed to circulate conditioned air from the host room and return it to the host room. The fan system shall be provided with a wall mounted switch and operate on 110 volt, 60 Hz single phase power.

C. Silencer ventilation system shall be designed to supply the airflow of one complete air change every ten (10) minutes.

  - FLOATING FLOOR:

A: When specified (refer to drawings) the MMPR shall be provided with a vibration isolated floating floor. Floor panels shall be constructed of internally damped, cellular steel design with minimum 3/16” thick top plate.

B: The floating floor shall be no more than 6-1/4” thick including isolation rails.

C: The floating floor shall be designed to support the weight of the MMPR and all the equipment and personnel to be located within the room.

D: The finish floor surface shall be Noise Barriers’ standard nylon carpet.

2.7      PANEL JOINERS AND CONNECTORS:

- Construct connecting panel joiners of A-60 galvannealed steel.  Joiner design and fit shall prevent noise leakage while acoustically and structurally joining panels together.  Joiners shall be one-piece roll formed sections independent of basic panel so there is no possibility of direct passage of noise.

- Joiners and connectors shall be detailed to support loads shown on Drawings. Cam-Lock or interlocking panel joints are not acceptable.

- MMPR’s provided without floating floors shall have walls of the rooms resting on QuietChannel™ Vibration Isolated Adjustable Wall Channel.

2.8	FINISH PAINT and PACKAGING:

- Manufacturer's high performance Polyester Powder coating is standard and shall meet warranty requirements.

- Apply coatings before, during, or after forming and fabricating panels, as required by coating process and as required for maximum coating performance capability.  Fully coat all edges of perforations in face sheet.  Protect coating either by application of strippable film or by packing plastic film or other suitable material between panels to protect the finish during shipment.

Color: Architect will select from manufacturer’s standard color chart.

- Provide sufficient paint to touch-up panels after installation of MMPR.

- All materials shall be shipped in covered wooden crates.

2.9	INTERCHANGEBILITY AND REUSE:

- Acoustic structural components having same part numbers shall be completely interchangeable.

- Acoustic structure shall be such that no components will be damaged upon disassembly.  Design shall allow structure to be assembled, disassembled and reassembled minimum of 3 times without detraction from acoustic performance.

2.10	ASSEMBLED MMPR FIELD ACOUSTIC PERFORMANCE:

- Submit certified independent laboratory test including absorption and NIC values for specified type and construction of not less than following:

Sound Transmission Loss, dB

OCTAVE BAND

Center Frequencies, HZ 	125	250	500	1K	2K	4K 	8K	NIC

Corridor to Inside Room	39	45	54	62	61	68	72	54

Room to Room (4” airspace)	46	64	84	75	72	76		69

Sound Absorption Coefficients

OCTAVE BAND

Center Frequencies, HZ  	125	250	500	1K	2K	4K		NRC

Wall   4” thick			0.15	0.37	0.77	0.96	0.97	0.89		0.75

2.11     ELECTRICAL:

- The wall and ceiling panels shall be supplied with thin-wall conduit and outlet boxes buried in the wall in locations shown on the plans. The entire electrical system shall have UL Certification.

- “Plug and play” electrical: Pre-wired, UL Listed electrical system consists of duplex outlets…one (1) per wall, light switch with dimmer and vent switch with rheostat. Note: Quad outlets can be substituted for duplex outlets upon request.

- Each room shall include minimum two (2) LED flush mounted light fixture with dimmer.

- Electrical components to connect to a single distribution panel on the MMPR roof and connected to host building 110v convenience outlet with a 10’ cord.

- All rooms are to be equipped with the necessary integrated thin-wall conduit within the walls for Fire Alarm and Emergency Exit signage for supply and field connection of such devises by others.

  - FIRE SPRINKLERS:

A: The ceiling of each room shall include an acoustical treated penetration for sprinklers provided by others. Quantity and location of sprinkler penetrations per local code and is the responsibility of others.

B: The connection between the sprinkler(s) and host building shall be a flexible connection to eliminate and noise transfer from host system.

C: The sprinkler(s) and final connection from the MMPR to the host building shall be supplied and installed by others.

PART 3 - EXECUTION

3.1      MODULAR MUSIC PRACTIC ROOM INSTALLATION:

- Install MMPR’s according to manufacturer's instructions and recommendations, as applicable to project conditions and supporting substrates.  Anchor panels and other components of the work securely in place, with provisions for thermal and structural movement.

- Field cutting of panels is not permitted except for unforeseen cable or electrical penetrations.

- Install panels with manufacturer’s recommended and supplied fasteners.

- Accessories:  Install components required for a complete acoustical enclosure panel system, including trim, coping, supports and attachments, connections between panels, seam covers, sealants, fillers, closures strips and similar items.

- Connection to host building HVAC is by others. Flexible duct from MMPR to host building is supplied and installed by others.

- Any field wiring hard connection to host building is by others. Wires and any necessary materials required to hard wire to host building is supplied and installed by others.

  - CLEANING AND ADJUSTMENT:

- Damaged units:  Replace panels and other components of the work that have been damaged or have deteriorated beyond successful repair by means of finish touch up.

- Cleaning: Upon completion of panel installation, clean finished surfaces as recommended by panel manufacturer, and maintain in a clean condition during construction.

## END OF SECTION